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	PRODUCT  SPECIFICATION

	
	

	TAP315KBL-Kolt Bath Shower Mixer Matt Black
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BAR CODE: 5055681461317
COLOUR: MATT-BLACK
WEIGHT:
NET         2.7 kg (tap only)
GROSS     3.04 kg
	0 . 2 bar
	0 . 5 bar
	1 bar
	2  bar
	3  bar

	9  L
	16.5 L
	24.3 L
	34.2L
	43.2 L


[bookmark: _GoBack]STANDARDS:  BS EN 200                                                        NOTES:                                                                                               SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR                Flow Rate:
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