|  | # PRODUCT SPECIFICATION |  |
| --- | --- | --- |
| TAP315KBL-Kolt Bath Shower Mixer Matt Black |  |  |
|  |  | BAR CODE: 5055681461317 COLOUR: MATT-BLACK WEIGHT: NET 2.7 kg (tap only) GROSS 3.04 kg 0 . 2 bar; 0 . 5 bar; 1 bar; 2 bar; 3 bar. 9 L; 16.5 L; 24.3 L; 34.2L; 43.2 L. STANDARDS: BS EN 200 NOTES: SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR Flow Rate: |
| BOX SIZE 240X160X187 |  |  |