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	PRODUCT  SPECIFICATION

	
	

	TAP320KBB-Kolt Mono Basin Mixer Brushed Brass
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BAR CODE: 5055681461355
COLOUR:  Brushed Brass
WEIGHT:
NET         1.18 kg (tap only)
GROSS     1.62 kg
	0 . 2 bar
	0 . 5 bar
	1 bar
	2  bar
	3  bar

	4.4  L
	8.2 L
	11.8  L
	17.1L
	20.8 L


STANDARDS:  BS EN 200                                                        NOTES:                                                                                               SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR                Flow Rate:

	
[image: ]BOX SIZE  175X159X77
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