|  | # PRODUCT SPECIFICATION |  |
| --- | --- | --- |
| TAP321KBB-Kolt Hi-Rise Mono Basin Mixer Brushed Brass |  |  |
|  |  | BAR CODE: 5055681461362 COLOUR: Brushed Brass WEIGHT: NET 1.57 kg (tap only) GROSS 1.91 kg 0 . 2 bar; 0 . 5 bar; 1 bar; 2 bar; 3 bar. 4.4 L; 7.8L; 11.4 L; 16.4L; 20.1 L. STANDARDS: BS EN 200 NOTES: SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR Flow Rate: |
| BOX SIZE 351X148X60 |  |  |