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	PRODUCT  SPECIFICATION

	
	

	TAP322KBB-Kolt Mini Mono Basin Mixer Brushed Brass
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BAR CODE: 5055681461379
COLOUR:  Brushed Brass
WEIGHT:
NET         1.16 kg (tap only)
GROSS     1.53 kg
	0 . 2 bar
	0 . 5 bar
	1 bar
	2  bar
	3  bar

	4.5  L
	8.1L
	12 L
	17.3L
	21 L


[bookmark: _GoBack]STANDARDS:  BS EN 200                                                        NOTES:                                                                                               SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR                Flow Rate:
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