|  | # PRODUCT SPECIFICATION |  |
| --- | --- | --- |
| TAP322KBB-Kolt Mini Mono Basin Mixer Brushed Brass |  |  |
|  |  | BAR CODE: 5055681461379 COLOUR: Brushed Brass WEIGHT: NET 1.16 kg (tap only) GROSS 1.53 kg 0 . 2 bar; 0 . 5 bar; 1 bar; 2 bar; 3 bar. 4.5 L; 8.1L; 12 L; 17.3L; 21 L. STANDARDS: BS EN 200 NOTES: SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR Flow Rate: |
| BOX SIZE 175X159X77 |  |  |