|  | # PRODUCT SPECIFICATION |  |
| --- | --- | --- |
| TAP334KBN-Kolt Bath Filler Brushed Nickel |  |  |
|  |  | BAR CODE: 5055681461461 COLOUR: Brushed Nickel WEIGHT: NET 2.13 kg (tap only) GROSS 2.45 kg 0 . 2 bar; 0 . 5 bar; 1 bar; 2 bar; 3 bar. 9.7 L; 17.3 L; 25.2L; 35.5L; 44.1 L. STANDARDS: BS EN 200 NOTES: SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR Flow Rate: |
| BOX SIZE 240X160X187 |  |  |